**Check PGLink and Pager are both turned on:** For the PGLink, make sure that the toggle switch at the top is pushed in. For the Pager, hold down the large button for a few seconds until the pager beeps

**Check PGLink is connected to tablet:** Within the PulseGuard app, at the top-right of the main screen, check the Pager Status. If ‘not connected’, please connect the PGLink under Pager Settings

**Pager Battery:** Check if the pager needs new batteries (there will be a Battery Low symbol on the screen)

**Check power source for PGLink:** Try the PGLink in a different power source and try a new plug for the PGLink’s USB cable.

**Testing:** Under Pager Setup, press the Test button. The PGLink should click and the Pager should beep.